DEPARTMENT:		Heating, Ventilation, Air Conditioning and Refrigeration

COURSE NUMBER:	HVAC/R 003

COURSE TITLE:		Refrigeration III

| Course Objectives (not part of SLO-but derives SLO) | Outcome | Activity | Assessment |
| --- | --- | --- | --- |
| Evaluate and compare differences between commercial and domestic refrigeration systems; compare the types of compressors and explain how they work; examine different types of refrigerant controls and explain how they work | Students will demonstrate their ability to categorize, evaluate, and compare any of the refrigeration compressors and control systems and circuits by successful interpretation of schematics and diagrams. | Students will select the correct technical data to use for the different compressors and control circuits. | Students will complete a written exam and pass with a minimum score of 70%. |
| Measure temperatures and pressures of four different commercial systems; evaluate superheat | Students will demonstrate the ability to correctly use pressure and temperature measuring devices and evaluate superheat. | Students will evaluate readings taken on the proper multi-meter and based on the technical data determine a proper solution to the problem. | Students will perform measurements of pressure and temperature of four different commercial systems with an accuracy of at least 70%. |
| Wire a single-phase compressor; design and build a commercial refrigeration system, refrigerator, freezer or water cooler, applying refrigeration principles | Students will design and build various refrigeration systems by applying refrigeration principles and correctly wire a single-phase compressor. | Students will use the correct technical data and schematic diagrams to design, build, and safely wire various refrigeration systems. | Students will design, build, and wire various refrigeration systems according to the proper technical data with 100% accuracy. |

SLO#1	Students will demonstrate their ability to categorize, evaluate, and compare any of the refrigeration compressors and control systems and circuits by successful interpretation of schematics and diagrams and pass a written exam with a minimum score of 70%.

SLO#2	Students will demonstrate the ability to correctly use pressure and temperature measuring devices and evaluate superheat in four different refrigeration systems with an accuracy of 70%.

SLO#3	Students will design and build various refrigeration systems by applying refrigeration principles and correctly wire a single-phase compressor according to the proper technical data with 100% accuracy.