DEPARTMENT:		Heating, Ventilation, Air Conditioning and Refrigeration

COURSE NUMBER:	HVAC/R 006

COURSE TITLE:		Air Conditioning and Heating

| Course Objectives (not part of SLO-but derives SLO) | Outcome | Activity | Assessment |
| --- | --- | --- | --- |
| Categorize the different types of heating and humidifying systems | Students will demonstrate their ability to correctly categorize the different types of heating and humidifying systems. | Students will cross-list the different types of heating and humidifying equipment. | Students will pass a written examination with a minimum score of 70%. |
| Evaluate the operation of the different types of cooling and dehumidifying systems; define problems with the controls for multiple-control and multiple- stage equipment; service multiple-stage equipment, both heating and cooling systems | Students will evaluate the operation of different types of cooling and dehumidifying systems and define problems and service the multiple-control and multiple-stage equipment of both heating and cooling systems. | Students will do a checklist evaluation of different types of cooling systems, dehumidifying systems in multiple-control and multiple-stage equipment and correctly service heating and cooling systems. | Students will pass a written examination with a minimum score of 70%. |
| Select troubleshooting techniques applying to the operation of air conditioners, heat pumps, and microprocessor control systems | Students will demonstrate their ability to service; determine the problems encountered and methods of solving problems on air conditioners, heat pumps, and microprocessor control systems. | Students will evaluate the readings taken on the proper multi-meter and based on the technical data determine a proper solution to the problem. | Students will correct a problem on these different systems and then perform an operational checkout to determine if the problem is fixed with 100% accuracy. |

SLO#1	Students will demonstrate their ability to correctly categorize the different types of heating and humidifying systems by cross-listing them and passing a written examination with a minimum score of 70%.

SLO#2	Students will evaluate the operation of different types of cooling and dehumidifying systems and define problems and service the multiple-control and multiple-stage equipment of both heating and cooling systems by cross-listing these systems and pass a written examination with a minimum score of 70%.

SLO#3	Students will demonstrate their ability to determine the problems encountered system problems by evaluating the multi-meter readings taken based on technical data, correct the problem and perform an operational checkout to determine if the problem is fixed with 100% accuracy.